## Sheet1
DATASHEET FOR |  | CONTROL VALVE
1 | IDENTIFICATION | tag no.
2 |  | Location
3 |  | Service
4
5 |  | Purchase no.
6 | PROCESS DATA | Fluid / PFD no.
7 |  | Flow (min/normal/max) kg/h
8 |  | Pressure (min/normal/max) barg
9 |  | Design pressure barg
10 |  | Temp. (min/normal/max) deg.C
11 |  | Design temperature deg.C
12 |  | Density (at operation condition) kg/m3
13 |  | Viscosity Pa.s
14 |  | dP (min/normal/max) barg
15 | LINE DATA | Line size / schedule
16 |  | Internal pipe diameter mm
17 |  | Pipe material
18 | VALVE DATA | Supplier / manufacturer
19 |  | Type
20 |  | Cv calculated / Rated
21 |  | Characteristic
22 |  | Body size / trim size
23 |  | Number of ports
24 |  | Connections
25 |  | Flow direction
26 |  | Leaking class
27 |  | Material -body/bonnet
28 |  | -trim / seat facing
29 |  | Bonnet / lubricator
30 |  | Packing or seal
31 |  | Predicted sound lebvel at 1m [dBA] | < 85
32 | ACTUATOR | Supplier / manufacturer
33 |  | Type
34 |  | Increase signal | Valve to open/close
35 |  | Supply barg
36 |  | Input signal | Pneumatic/ ..
37 |  | Supply failure action | Valve to copen/close
38 |  | Output position transmitter
39 |  | Local position indicator
40 |  | Handwheel
41 |  | Housing class / heating element | IP.. / ..
42 |  | Stroking time
43 | ACCESSOIRIES | Air set (manufacturer/type)
44 |  | Positioner (manufacturer/type)
45 |  | I/P converter (manufacturer/type) | Integrated in positioner
46 |  | Signal type / Wireless protocol | 4-20mA or ..
47 |  | Limt switch (manufacturer/type)
48 | MISCELLANEOUS | Tag plate inscription / material
49 |  | Area classification
50 |  | Certificates | 3.1B / CE / Ex / PED
51 |  | Flanges according to (facing) | DIN/ANSI
52 | GENERAL | dP max (for actuator sizing) barg
53 |  | Instr. Air (min/nor/max/design) kPa
54 |  | Air piping material
55 |  | SIL/MTBF/Failure Rate requirements
56 |  | Cybersecurity requirements
57 |  | Smart (e.g. HART protocol) requirements
58
59
60
Client:
Project:
| Name | Date
By |  |  | Project no.
Chk |  |  | Dwg no.
Rev. |  |  | Sheet no.